## Slide 2: Plan [Situation Overview]
Vision Statement:
Reduce fresh water requirement to ensure the viability of expansion of the company. There is no additional water to meet expansion requirement.
Target Condition:
Reduction of fresh water consumption by 50% by adopting 3 R, Reduce, Reuse and Recycle of water through total water management.
Current Condition:
Currently fresh water is used to meet all the requirements of process, air washers, gardening and other miscellaneous and treated waste water is drained.
Chart: 
| Week 23 | Week 24 | Week 25 | Week 26
Fresh water | 0.7 | 0.68 | 0.67 | 0.68
Effluent | 0.1 | 0.1 | 0.1 | 0.1
Sewage | 0.1 | 0.1 | 0.1 | 0.1
Tangible losses | 0.02 | 0.02 | 0.03 | 0.02
Other losses | 0.08 | 0.1 | 0.1 | 0.1
Chart: 
| Week 23 | Week 24 | Week 25 | Week 26
Fresh water | 0.7 | 0.68 | 0.67 | 0.68
Effluent | 0.1 | 0.1 | 0.1 | 0.1
Sewage | 0.1 | 0.1 | 0.1 | 0.1
Tangible losses | 0.02 | 0.02 | 0.03 | 0.02
Other losses | 0.08 | 0.1 | 0.1 | 0.1
Chart: 
| Process | Air Washers | Non production | Miscellaneous
Water | 50 | 30 | 20 | 10
Fresh Water
Treated Effluent water
Treated Sewage water
process loss
Other Loss
Business Name or Description:
Leading automobile company

## Slide 3: Do [Analysis and Action Taken]
Title:
Reduction in fresh water consumption
Problem Statement:
Reduction in fresh water consumption with usage of recycled water so that new plant can be sustained with present water intake without any additional fresh water requirement which is limited and scarce.

## Slide 4: Check [Results & Key Learnings]
Chart: 
| 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
Fresh water | 0.7 | 0.68 | 0.67 | 0.68 | 0.5 | 0.4 | 0.4 | 0.4
Effluent | 0.1 | 0.1 | 0.1 | 0.1 | 0.2 | 0.3 | 0.25 | 0.25
Sewage | 0.1 | 0.1 | 0.1 | 0.1 | 0.15 | 0.2 | 0.25 | 0.2
Tangible losses | 0.02 | 0.02 | 0.03 | 0.02 | 0.01 | 0.02 | 0.02 | 0.01
Other losses | 0.08 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1
Chart: 
| 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
Fresh water | 0.7 | 0.68 | 0.67 | 0.68 | 0.6 | 0.5 | 0.45 | 0.4
Effluent | 0.1 | 0.1 | 0.1 | 0.1 | 0.2 | 0.3 | 0.35 | 0.4
Sewage | 0.1 | 0.1 | 0.1 | 0.1 | 0.15 | 0.2 | 0.25 | 0.3
Tangible losses | 0.02 | 0.02 | 0.03 | 0.02 | 0.01 | 0.02 | 0.02 | 0.01
Other losses | 0.08 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1
Fresh water
Effluent
Sewage
Process Loss
Other Loss
Results:
Fresh water requirement came down to 40 % paving way for new plant expansion without additional fresh water requirement which is scarce
Effluent And Sewage water reuse increased up to 50 % especially in non production areas, toilets
.Tangible losses reduced considerably by continuous monitoring through metering devices
Key Learnings:
Lot of areas where fresh water can be replaced with treated effluent water like floor cleaning, gardening, toilet flushing , air washers etc.
Sewage water after treatment can be extensively used for gardening for healthy growth of plants.
Treated water can be further purified through RO and ultra filtration to maximize the reuse.

## Slide 5: Act [Further Action Taken]
In the initial improvement cycle, focused on more non production areas where fresh water can be replaced by recycled water through awareness and communication.
A separate pressure pipe ring can be made for easy access to reused water as it is seen that people use fresh water in absence of immediate other option within reach.
Use of nozzles and push type wash basin taps to ensue there is no excess water usage.
Actual measurement of water through meters to arrive at “ Total water management” to identify the gaps and process requirement.
Measurement at waste/ drain outlet to understand the losses.
Storage and use of rain water for non production for further reduction in fresh water.
Use of smaller pipe sizes with nozzles for manual floor cleaning.
TDS balance and management at different water usage points.
Installation of Membrane filtration to upgrade the recycled water quality for maximum usage resulting in fresh water intake reduction.